The following conditions must be met at all times for this permit to be valid:

- There must be a UL (Underwriter’s Laboratory) label or Factory Mutual approved label intact on the space heater.

- Heaters must have a thermostat to automatically shut down the unit when the desired temperature is achieved.

- Heaters must have an automatic tip-over shut down feature.

- The space heater shall always be turned off when the area being heated is not occupied and unplugged at the end of the day.

- The space heater is plugged directly into a wall outlet. Do not use extension cords or power strips because of the risk of overheating and possibly catching fire.

- Heaters must be kept at least 3 feet from all combustible materials, e.g., file cabinets, desks, trash cans, paper boxes.

- Nothing shall ever be placed on top of or touching the space heater.

- Heaters missing guards, control knobs, feet, etc. must be taken out of service immediately.

REQUESTER INFORMATION

| Name: |  |  |  | Phone Number: |  |
| --- | --- | --- | --- | --- | --- |
| BLDG/OFFICE Location of Heater: |  |  |  |  |  |
| Email: |  |  |  |  |  |
| Heater Manufacture and Model: |  |  |  |  |  |

APPROVALS

USAG Daegu DPW: 				APPROVED: 	NOT APPROVED:

| Name: |  |
| --- | --- |

Signature:

USAG FIRE DEPARTMENT: 		APPROVED: 	NOT APPROVED:

| Name: |  |
| --- | --- |

Signature:

INSTALLATION SAFETY OFFICE: 	APPROVED: 	NOT APPROVED:

| Name: |  |
| --- | --- |

Signature:

PERMIT NUMBER:       (ASSIGNED BY INSTALLATION SAFETY OFFICE)